## Hazard Log
[24 empty] | Last edited on: | <date>
[24 empty] | Last edited by: | <person name>
Hazard Log
[7 empty] | Risk rank | [7 empty] | Additional safety measure |  |  |  | Risk rank after the additional safety requirements |  |  | Actions
Hazard identifier | Hazard title | Hazard descripton | Hazard consequence | Hazard cause(s) | Origin | Existing safety measures | Broadly acceptable | Justification if broadly acceptable | Likelihood of happening | Severity level | Risk ranking | State | Risk evaluation principle(s) | Risk evaluation documents | SR ID | SR Title | Demonstration state | Assumptions | Final likelihood of happening | Final severity level | Final risk ranking | Action | Responsible | Target date | Status | Notes
H1 | Server Room Flood | This hazard relates to the possibility of the server room flooding. | Any machine in the server room would suffer permanent water damage. | Rains in Olivah, pipes bursting | Environment | None - the servers are stored in a basement that floods every year | No |  | Possible | Catastrophic | Intolerable | Controlled |  |  | 1 |  |  |  | Frequent or almost certain | Minor | Undesirable |  |  | 2016-01-01 | Pending input
H2 | Improper access to logs | This hazard explores the possibility of a bad actor gaining access to logs. | Users' non critical information will be disclosed (reading history, ratings, etc.) and the timestamp, which could help bad actors locate the users. | Bad actor gaining access to the machines hosting the logs, or access to credentials that would make it so they would be able to access the logs through the system. | Bad actors | Some - the machines aren't easy to access, as the server room has electronic locks that require a card with the proper credentials | Yes |  | Unlikely | Moderate | Tolerable | Transferred |  |  | 2
H3 | Power outage | This hazard relates to the possibility of the machines hosting the system (servers and loggers) losing access to electricity. | The system will not be accessible, as the servers rely on the city's power, there are no backup generators. | City wide electricity outage, late payments. | Environment | None - there are no backup generators. | Yes |  | Unlikely | Catastrophic | Undesirable | Controlled
H4 | Log deletion | This hazard explroes the possibility of a bad actor deleting the logs. | The logs would be deleted, which could be a slight inconvenience, or could let users behave badly without the actions being linked to them. | Bad actor gaining access to the machines hosting the logs, or access to credentials that would make it so they would be able to access the logs through the system. | Bad actors | Some - the machines aren't easy to access, as the server room has electronic locks that require a card with the proper credentials | Yes |  | Unlikely | Major | Tolerable | Controlled
H5 | Improper librarian level access | This hazard explores the possiblity of someone using the system as a librarian when they are not one. | A bad actor would be able to mark reservations as prepared when they are not, among all other manual interactions the librarians have with the system. | Bad actor gaining access to a librarian's credentials, or simply guessing them. | Bad actors, librarians with insecure credentials, credentials leak | Some - the librarians have been instructed that their credentials should be strong, the user data is saved securely, and passwords are not saved as plaintext. | Yes |  | Unlikely | Major | Tolerable | Controlled

## Configuration
Hazard state
Open | The initial status assigned immediately after a hazard has been identified.
Controlled | he risk evaluation process has been completed and safety requirements have been established which are sufficient to control risk to an acceptable level. | Broadly | Likelihood | Consequence | Risk ranking matrix
Closed | The potential hazards have been determined not to be an actual hazard or to be wholly contained within another hazard so no further action is necessary. | Yes | Frequent or almost certain | Insignificant | Frequency / Consequence |  | Insignificant | Minor | Moderate | Major | Catastrophic
Transferred | The hazard has been transferred to another actor who now takes the lead in delivering the associated safety requirements for controlling the risk of the hazard. The proposer retains responsibility for managing the hazard. | No | Likely | Minor |  |  | 1 | 2 | 3 | 4 | 5
Cancelled | Compliance with all safety requirements related to the hazard has been demonstrated and any other actions associated with the hazard have been satisfactorily completed and so no further action is required. |  | Possible | Moderate | Frequent or almost certain | 5 | Tolerable | Undesirable | Intolerable | Intolerable | Intolerable
|  |  | Unlikely | Major | Likely | 4 | Tolerable | Tolerable | Undesirable | Intolerable | Intolerable
|  |  | Rare | Catastrophic | Possible | 3 | Negligible | Tolerable | Tolerable | Undesirable | Intolerable
[5 empty] | Unlikely | 2 | Negligible | Negligible | Tolerable | Tolerable | Undesirable
[5 empty] | Rare | 1 | Negligible | Negligible | Negligible | Tolerable | Tolerable
|  | Action States | SRAC States
|  | Open | Pending
|  | Closed | Demonstrated
Pending input